Circular Dicroism (CD) and Optical Rotational Dispersion (ORD)

These spectroscopic techniques are suited to determine chiral structures. In particular in proteins that means helical and leaf-type structures.

# Theory

Light is an electro-magnetic wave and interacts with matter. Classically speaking the electrons are forced into an oscillation. A forced oscillation can be modelled as a spring with an inert mass coupled to a (mechanical) oscillator:

Agitation frequency  ( (((((((()

natural frequency (eigenfrequency) (0

## Fig. 1: example for a forced oscillation

After an initial time the oscillation of the sphere reaches a stationary state in a forced oscillation.

AR = amplitude of the forced oscillation of the resonator

AA= amplitude of the agitator

( = frequency of the forced vibration

( = phase shift (delay) between AA and AR

Fig. 2: phase shift:

## Fig. 3: absorption and phase shift

((((( :	the mass follows the agitator almost instantaneously (((°

( = ((:	resonance ( = - 90°(

((((( : 	the agitation is so fast that the mass cannot follow, and the amplitude AR becomes almost zero; ( = 180° There is no energy transfer between agitator and resonator.

The optical equivalent to the mechanical resonance ( = (( is when the eigenfrequence of the electrons is equal to the frequency of the incident light, this is an absorption line in a(n absorption) spectrum. The energy

(1)

is used to raise the energy of the electronic system correspondingly (excitation). There is also a phase shift due to the fact that the oscillating electrons act as a Hertzian oscillator emitting secondary radiation. This secondary radiation suffers from a delay with respect of the excitation since the phase shift ( is negative. The propagating wave in the matter, now is a superposition of all secondary waves (Huygens' principle) and the velocity of the light in matter (m is smaller than the velocity of light in vacuum c. The quotient is termed refractive index n of the matter and is correlated with the dielectric constant ( of the matter:

(2)

with  respectively (m = ( ( (			(3)

n is a function of the wave length ( respectively the frequency (. This phenomenon is called dispersion (e. g. of light by a prism). The dispersion curve decreases usually with ( but in the vicinity of an absorption band anormal dispersion is observed and the refractive index increases with the wave  length.

( 	Resonance and phase delay result in absorption and refraction.

Fig. 4: absorption- and dispersion curve

Although it might look like that, the dispersion curve is not the first derivative of the absorption curve. Even far away from the absorption maximum there is always still a wave-length dependent refractive index (see a quartz prism) even in the completely transparent region.

In optically anisotropic systems, e. g. some crystals like calcite, in oriented polymer films or oriented liquids (flow-birefringence) or solutions with oriented molecules (e. g.: lyotropic solutions in a shear , electric or magnetic field) also an anisotropy of physical properties (expansivity, heat conductivity…) is observed. Correspondingly, refractive index and absorption become directional.

The extinction coefficient ( (molar or specific) is different whether the extinction E (eq. 4) is measured parallel (((() or orthogonal ((() (linear dichroism) to the draw-direction of a(n uniaxially drawn) film and also n(( ( n(. This phenomenon is called birefringence.

A thin mica plate is birefringent but does not refract an incident beam significantly so that there is practically no directional deviation of an incident beam. However, when the incident beam is linearly polarized and enters the mica plate, the single beam is splitted-up into two components according to the different refractive indices n(( and n(, respectively. If the mica plate has a thickness of d ( 0,038 mm then the two beams will show a phase delay of (/4 ((/4-plate). The superposition of these two sine-waves phase-shifted against each other by (/4 creates a circular polarized wave after the (/4-plate, see fig 5.

Fig. 5: generation of circular polarised light with a (/4-plate.

Is the vector of the incident beam rotated by 90° (or (/2) then the direction of rotation is inverted. Finally, when, as shown in fig. 8, left, two counter-rotating circular polarized waves (with phase delay ( = 0!) are superimposed, the result is a linear polarised wave.

In other words: any linear-polarized wave can be constructed from two counter-rotating circular polarized waves of the same phase and amplitude, and likewise any linear polarized wave can be split-up into the corresponding two circular polarized waves.

# Basics of CD and ORD

An electron exposed to a circular polarized wave is forced into a corresponding helical movement, fig. 5. In an isotropic environment it will not experience any difference, however, in a chiral environment there will be a difference between left-and right-handed symmetries, see fig. 6.

phenylalanine

left-handed L					right-handed D

Fig. 6: chiral structure

the sequence of the left circle yields: 	DABC

the sequence of the right circle yields:	DCBA

Hence, when circular polarized light (index L or D, respectively) passes matter (solid or liquid) containing chiral structures, there will be two different refractive indices, nL and nD, and two different extinction coefficients (L and (D (circular dichroism). The difference in the refractive indices results in a rotation of the plane of linear-polarized light, this effect is called optical rotation dispersion.

# The Experiment

Fig. 7: experimental set-up of a CD-experiment. The light-source LS provides white, unpolarized light that is monochromatic (a) after it has passed the monochromator Mono. It is linear polarized (b) after it has passed the polarizer Polar, and circular polarized (c) after it has passed the (((-plate. This circular polarized light (c) passes the sample cell. During this passage the left and the right circular polarized parts of the incident beam are subject to a different fate due to their interaction with the chiral solution and meet the detector in their superposition as elliptically polarized light. Finally, the extinction coefficients (L and (D are determined depending on the wavelength (after rotating the (((-plate accordingly, see before).

Lambert-Beer's Law gives the extinction E as:

(4)

with I0 the intensity of the incident beam and I the intensity of the light after the sample, ( (() is the extinction coefficient that is either the specific quantity when the concentration( is the mass density [g/L]  the or the molar quantity (mass) concentration c [mol/L], and d is the length of the sample cell.  Usually, the difference:

(E((((((EL((( - ER((( = ( (d [(L(((((R(((] = ( (d (((((( 		(5)

is determined and the ellipticity ( (molar or specific) is calculated.

The ellipticity is expressed in terms of ((((( and has the following geometrical explanation, see fig. 8 and fig. 9.

Fig. 8: linear polarized light as the sum of left and right circular polarised light of the same intensity without phase delay (left). When there is a phase delay and a difference in intensity, then elliptically polarized light results as the sum (right). Given actual values in CD-spectroscopy, the ellipse would still appear to be as thin as a single line given the scaling above.

### Fig. 9: geometrical explanation of the ellipticity (

Usually the ellipticity is given by:

respectively

(6)

The difference in extinction is usually very small (10-2%…10-3%) but can be determined very accurately. And the results are given in mdeg (10-3 deg = 10-3  °).           										The values of ( are frequently normalized. In protein chemistry this is the mean molar ellipticity per residue (per amino acid), (mrd.

(7)

M = molar mass, c = molar concentration, d = length of the sample cell, N r = number of residues (amino acids). The value of (mrd is in practice usually of the order of 104.

In general CD-measurements are useful for the following problems:

- Determining if a protein is folded and gain information about the secondary and tertiary structure, see fig. 10. This enables to identify conformational changes during processes, comparison with mutants or proteins from different sources

- Study conformational changes under stress such as pH, heat, denaturants etc, see fig. 11, see also "The Increment Method".

- Interactions with ligands (drugs, other proteins, lipids…) that change the conformation

- Determination of the influence of the solvent conditions on the thermal reversible folding/unfolding.

Fig. 10: example for a standard curve showing a standard curve of poly(L-lysine) in  (-helical conformation (100%) at pH 10.8, (-sheet conformation (100%) at pH 11.1, heating to 57°C and re-cooling, and in random coil conformation (100%) at pH 7. For analysis of a spectrum that contains all these structures deconvolution is required.

Fig. 11: influence of trifluoro ethanol (TFE) content on the conformation of the protein AKQ9.

The protein AKQ9 consists in aqueous solution of 59% random coil and 41 % helical conformation (per molecule). Addition of TFE increases the helical content, see fig. 10, until at 40% TFE a saturation is reached with 71% helical conformation and 29% coil. The content of the different conformations can be determined by curve fitting.

The secondary structure can be investigated in the far-UV region (190 nm…250 nm) where signals are caused by a regular folding of the peptide bond (which is the chromophore), see figs 9 and 10. Although the conformational contribution of a certain secondary structure can be determined, it is not possible to specify which particular residues are involved.

The near-UV region (250 nm…350 nm) can serve to investigate certain aspects of the tertiary structure of proteins. In this region the chromophores are aromatic amino acids (phenylalanine 250 nm-270 nm, 270 nm - 290 nm tyrosine, 280 nm - 330 nm tryptophan) and disulphide bridges (broad signals throughout near UV). All these can be sensitive against changes of the tertiary protein structure: the presence of significant near-UV signals can indicate a well-defined folded structure while the absence of near-UV signals occurs in ill-defined three-dimensional structures. Although the signal intensity is much smaller compared with the far-UV, even small changes in tertiary structure can cause changes in the spectrum (e. g.: protein-protein interactions, changes of the solvent conditions). For primary, secondary etc. structures see addendum.

#### Phe has a small extinction coefficient because of high symmetry and it is also the least sensitive to alterations in its environment. Absorption maxima at 254, 256, 262 and 267 nm (vibronic bands).

#### Tyr has lower symmetry then Phe and therefore has more intense absorption band. Tyr has absorption maximum at 276 nm and a shoulder at 283 nm. Hydrogen-bonding to the hydroxyl group leads to a red-shift of up to 4 nm. The dielectric constant affects the spectrum also.

#### Trp has the most intense absorption band centered at 282 nm. Hydrogen-bonding to the NH can shift the 1La band by as much as 12 nm.

#### Disulfide (S-S) spectra have a broad band at 250 - 300 nm with no vibronic structure.

Fig. 12: small but significant change of the tertiary structure of a protein due to different amounts of an antibody.

Fig. 13: folding and unfolding ("melting") of a protein in three different buffers.

Optical Rotation Dispersion (ORD) occurs because chiral substances refract L-respectively R-circular polarized light in a different way. Generally spoken CD spectroscopy these days has superseded ORD. The measured value is the rotation (( of the plane of linear polarized light.

(8)

The square brackets indicate here the specific angle of rotation (per g material) while the dash indicates the molar quantity. The other symbols are already defined. In the case of polymers the molar masse of the monomer unit is used so that is independent of the degree of polymerization. In the case of peptides, proteins and nucleic acids, the already mentioned (eq. 7) "mean residual molar mass"

(9)

is used. Finally, the "reduced mean residual molar rotation" ((( is obtained:

(10)

where the term  accounts for the fact that the system is in solution and not in vacuum. n is the refractive index of the solvent.

# Summary

### CD has an important role in the structural determinants of proteins

### However, the effort expended in determining secondary structure elements is usually not worth it because it is somewhat unreliable.

### The real power of CD is in the analysis of structural changes in a protein upon some perturbation, or in comparison of the structure of an engineered protein to the parent protein.

### CD is rapid and can be used to analyze a number of candidate proteins from which interesting candidates can be selected for more detailed structural analysis like NMR or X-ray crystallography.

### Investigation of the Secondary Structure of a Protein

### Monitoring (222nm of a protein as a function of temperature or chemical denaturant yields information about protein stability.

#### The thermodynamic parameters, (Gu, (Hu, (Su, Tm, (Cp can be determined

Fig. 14

#### Fig. 15 left: CD of hemoglobin(, elastase---, and lyosozym…; Fig. right:CD of various secondary structures from reference: (-helix (1), antiparallel (-leaf (2), (-leaf (3), coil (4), see also fig. 10

#### The goal is to determine the fraction of basis set spectra that add up to give the CD spectrum of the protein or the other way around: deconvolute the spectrum into its components.

#### The absorption should be less than 1.0 (usually < 0.3) for cell pathlengths of 0.05 to 1 cm in order to maintain reasonable signal-to-noise ratios and accurate CD measurements.

#### Protein concentration used is typically 1 mg/mL

#### Buffer is typically 10 mM phosphate with low salt if any.

### Solvent Cut-Off (A=1.0) for

### Two Different Cell Pathlengths

| Compound | 1.0 mm | 0.05 mm |
| --- | --- | --- |
| H2O | 182 | 176 |
| F6iPrOH | 174.5 | 163 |
| F3EtOH | 179.5 | 170 |
| MeOH | 195.5 | 184 |
| EtOH | 196 | 186 |
| MeCN | 185 | 175 |
| Dioxane | 231 | 202.5 |
| Cyclohexane | 180 | 175 |
| n-Pentane | 172 | 168 |

#### The instrument must be calibrated:

#### typically an aqueous solution of (+)-10-camphorsulfonic acid (CSA): 1 mg/mL in 1 mm cell: (( = 2.36 at 290.5 nm, (E = 1.02(10-3, ellipticity = 33.5 mdeg. At 192.5 nm ellipticity = 69.6 mdeg. To accurately determine concentration of CSA solution: E285nm = 0.743 in 5 cm cell, (285nm = 34.5 M-1 cm-1.

#### The protein concentration must be known accurately:

#### (190nm = 8,500 - 11,400 M-1 cm-1 per residue (this is not accurate enough: as you know the ( in the far UV of proteins depends on the secondary structure).

#### (280nm (in 6 M GdmCl) = # of Trp residues ( 5,690 M-1 cm-1 + # of Tyr residues ( 1,280 M-1 cm-1

#### Some results showing also results obtained from X-ray:

| Protein | Technique | (-helix H | antiparallel-(-sheet A | parallel-(-sheet P | (-turn T | other O |
| --- | --- | --- | --- | --- | --- | --- |
| EcoRI endonuclease | X-ray | 26 | 20 | 8 | 25 | 21 |
| EcoRI endonuclease | Deconvolution of CD spectrum | 33 | 20 | 5 | 17 | 25 |
| calmodulin | X-ray | 59 | 3 | 0 | - | 41 |
| calmodulin | Deconvolution of CD spectrum | 61 | 2 | 2 | - | 35 |

Fig. 16:cadmodulin and EcoRI endonuc

Fig.17: CD-spectrum of thymidylate synthetase is 33% H, 24% A, 2% P, 21% T, 20% O. Upon binding of FdUMP and 5,10-methylenetetrahydrofolate CD shows -5% A, -6% T, +8% O (lower curve). For H, A, P, T and O see table above.

ADDENDUM

##### Experimental Conditions

Standard conditions:

Protein Concentration: 0.5 mg/ml
Cell Path Length: 0.5 mm
Stabilizers (Metal ions, etc.): minimum
Buffer Concentration : 5 mM or as low as possible while maintaining protein stability

The protein concentration might needs to be adjusted to produce the best data. Changing this has a profound effect on the data, so small increments or decrements are advised. If that does not produce reasonably good data, a change in buffer composition may be necessary. It is also a good idea to check the sample for unexpected aggregation via Dynamic Light Scattering (DNA repair enzymes are an especially good example of this behavior). If absorption turns out to be a problem, cells with shorter path (0.1 mm) and a correspondingly increased protein concentration and longer scan time might help.

# The Increment Method (to Check for Consistency)

Calibration with standards of well-known secondary structure (e. g. poly(amino acids), see fig. 10, allow a splitting of the intensive quantities of the measurement into increments which can be utilized for an approximation of structural estimates (relative) of secondary structures, in particular when the structure changes caused by external factors like temperature or pH.

The extinction E can be written as a sum of increments (in analogy to thermodynamic quantities like the enthalpy of formation):

(11)

This is valid as long as the individual sub-systems i (the chromophores) do not interact with each other. As long as this is the case, e. g. the extinction doubles when the concentration is doubled.

(12)

xi is the molar fraction of the component i.

(13)

For simplification the number of components (or structures) n is assumed to be n = 2, e. g. component 1 (helix), component 2 (coil). This results for two different wave lengths (a and(bin:

(14)

Is the same molar fraction x2 found at more than one wave length, there is more reliability in the measurements. There should be as many measurements at different wave lengths as there are components. The molar fraction can also be determined with different methods. They should be consistent.

Example:

The molar ellipticity is an intensive variable. If one assumes, for example, two different structures – an ((helix and a random coil – then the evaluation of the data at only one wave length is not sufficient. Same is true for 3 structures and evaluation at only two wave lengths.

If there are interactions between the subsystems that influence the ellipticity, this can result in misinterpretations. Again, the only way is to do calculations at more than one independent methods.

Some more about Problems determining the Secondary Structure

### Far-UV CD for determining protein structure

#### n -> * centered around 220 nm

#### p ->* centered around 190 nm

#### n ->* involves non-bonding electrons of O of the carbonyl

####  ->* involves the -electrons of the carbonyl

#### The intensity and energy of these transitions depends on  and  (i.e., secondary structure)

### In a folded protein the amide is in a continuous array.

#### For example, the absorption spectrum of poly-L-lysine in an -helix, -sheet, and unordered (random coil) differ due to long-range order in the amide chromophore.

### Far UV-CD of random coil (RC)

#### positive at 212 nm (->*)

#### negative at 195 nm (n->*)

### Far UV-CD of -sheet

#### negative at 218 nm (->*)

#### positive at 196 nm (n->*)

### Far UV-CD of -helix

#### exciton coupling of the ->* transitions leads to positive (->*)perpendicular at 192 nm and negative (->*)parallel at 209 nm

#### negative at 222 nm is red shifted (n->*)

Figures show deconvolutions of the UV-spectrum (left) and the CD-spectrum (right).

### Use far-UV CD to determine amounts of secondary structure in proteins

#### generate basis sets by determining spectra of pure -helix, -sheet, etc. of synthetic peptides

#### or deconvoluting CD spectra of proteins with know structures to generate basis sets of each of secondary structure

### poly-L-lysine {(Lys)n} can adopt 3 different conformations merely by varying the pH and temperature

#### random coil at pH 7.0

#### -helix at pH 10.8

#### -form at pH 11.1 after heating to 52°C and recooling

### CD spectrum of unknown protein = fS() + fS() + fRCSRC(), where S(), S(), and SRC() are derived from poly-L-lysine basis spectra.

#### Recently S() was derived from the spectrum of myoglobin which is 80% -helix

#### Recently -turn has been added to the above equation {ST()}. ST() was derived from a combination of L-Pro-D-Ala, (Ala2-Gly2)n and Pro-Gly-Leu

#### -form is now (Lys-Leu)n in 0.1 M NaF at pH 7

#### Random-coil is now (Pro-Lys-Leu-Lys-Leu)n in salt free neutral solution.

#### The disadvantage of this method is that although these basis sets are easily determined by direct measurement, they do not always agree from one lab to another. In addition, chain length and aggregation effect the basis set spectra. However, this method is usually accurate to within 10% for -helix content.

| Technique | Secondary Structure | carboxypeptidase | -chymotrypsin | myoglobin |
| --- | --- | --- | --- | --- |
|  |  | 23% | 8% | 68% |
| X-ray |  | 18% | 22% | 0% |
|  | RC + other | 59% | 70% | 32% |
|  |  | 13% | 12% | 68% |
| CD using (Lys)n Basis Sets |  | 31% | 23% | 5% |
|  | RC + other | 56% | 65% | 27% |

### If one has at least three proteins of known structure, then the following equation can be solved for Si(), where fi() are determined from the X-ray structure:

#### spectrum of protein with known structure

#### usually 5-15 proteins are used to generate basis set spectra

### Disadvantages and problems with this method:

#### choice of reference proteins is arbitrary and effects results

#### determination of secondary structure from X-ray data is subject to error and disagreements among groups

#### secondary structures are NOT ideal in real proteins (e.g., -helices can be bent, the spectrum of a 310-helix is different from -helix, and -turn can be twisted, non-planar, or perpendicular or parallel -sheets.

# Appendix Proteins

Proteins show a hierarchical structure which is also known from other systems like liquid crystals:

- primary structure: the linear sequence of amino acid constitutional units

- secondary structure: the local spatial arrangement of the chain atoms of a chain segment without regards to the conformation of the side group (side chain) or to its relationship with other segments. This leads to four types of common secondary structures observed in proteins, namely: (-helix, turns, (-sheets, see later, and "other" (sometimes addressed as "random coils" although these structures are neither random nor coils in the sense commonly used in polymer science). The secondary structure describes the coiling of the chain in space as it is fixed by hydrogen bonds between topologically neighbouring –CO- and –NH- groups.

- supersecondary structure: ((helices and/or ((sheets which are frequently repeated within a protein. There are four major classifications: a) proteins containing mostly ((helices, b) proteins containing mostly ((sheets, c) proteins containing ((helices and ((sheets in an irregular sequence, d) proteins with alternating sequences of ((helices and ((sheets. Some of these structures can be associated with a particular biological function. Others may be active only as part of a larger structure, for example to form a Ca binding site.

- tertiary structure: the arrangement of all the atoms of a protein molecule or a subunit of a protein molecule, regardless to its relationship with neighbouring subunits or molecules.

- quarternary structure: the arrangement of the subunits of a protein molecule in space and the ensemble of its intersubunit contact and interactions, regardless to the internal geometry of the subunits. The subunits in a quarternary structure have to be in non-covalent association.

Further Reading

G. D. Fasman, Circular Dichroism and Conformational Analysis of Biomolecules, Kleuwer Acad. Publ. (1996) Amsterdam

K. Nakanishi, Circular Dichroism-Principles and Application, John Wiley & Sons, New York (2000)

D. A. Lighter, J. E. Gurst, Organic Conformational Analysis and Stereochemistry from Circular Dichroism Spectroscopy, Wiley-VCh, Weinheim, New York (2000)

For Definitions see in Chemistry and Macromolecular Science :

Compendium of Chemical Terminology (so-called Gold Book)

http://iupac.org/publications/books/author/mcnaught.html

Compendium of Macromolecular Nomenclature and Terminology (so-called Purple Book):

http://iupac.org/publications/books/author/metanomski.html

# Footnotes

As in any circular electrical current, a magnetic moment comes with the electrical dipole moment of the oscillating electrical charge so that in case of an energy absorption (transition to a higher energetical state) besides the electrical transition moment also a magnetical transition moment has to be considered.

Chirality is a symmetry property and comes with the absence of a mirror plane or a centre of inversion. Therefore, a chiral structure modulates polarized light.

Also "absorbance", A. However, the term extinction (may be better: attenuation) usually also considers effects of luminescence and scattering.

rad (better: radian because the unit "rad" is the non-unit of absorbed radiation) is the unit of the plane angle, based on the unit circle to give the angle in radian measure. ( rad = 180° ( 180 deg, respectively 180°), 1 rad ( 57,295…° Frequently, "rad" is dropped, so that ( = 180°, ((( = 90°, etc.

intensive quantity do not depend on the size of a system (e. g.: pressure, density, temperature…), extensive quantities do (e. g.: volume, mass, entropy, enthalpy…)

((helix inducing amino acids are: Ala, Arg, Asp, Glu, His, Lys, Met, Phe, Tyr, and Trp, ((sheets are induced by Cys, Ile, Ser, Thr, and Val.

# Text boxes

resonator                          agitator

0°=360° = 2( unit radius

90° = ((2

180° = (

(

180°

0°

(

AR/AA

((((

((((

resonance curve

phase shift

(

(

A

n

absorption curve

dispersion curve

D

B

A             C

D

B

A             C

LS         Mono      a    Polar     b     ((( 	     c	     Sample cell 	      Det

(

nm

1

2

3

4

UV-spectrum

Far UV-CD spectrum